ARCHITECTURAL SPECIFICATIONS

EXB-IRS4

ICSLan IR/S Interface (FG2100-23)

DESIGN

- ICSLan Device Control Interface allows user to manage devices remotely from an AMX Central Controller over a standard Ethernet network.

- Practical solution for conference rooms, classroom or auditoriums where a single controller is used to manage multiple devices such as projectors spread throughout a facility or to add additional ports to an AMX Central Controller.

- IR/Serial Control Interface shall employ Native NetLinx Technology making it simple to add expansion to an AMX installation. IR/Serial Control Interfaces that do not employ Native NetLinx Technology shall not be accepted.

- IR/Serial Control Interface must include Standard, Ethernet-Based Interface using familiar installation methodology utilizing standard switches rather than proprietary distribution hardware. IR/Serial Control Interface Devices that do not include a standard, Ethernet-Based Interface shall not be accepted.

- IR/Serial Control Interface must be powered over Ethernet. IR/Serial Control Interface devices that are not powered over Ethernet shall not be accepted.

- IR/Serial Control Interface must include one (1) ICSLan 10/100 Ethernet port. IR/Serial Control Interface devices that do not include one (1) ICSLan 10/100 Ethernet port shall not be accepted.

- IR/Serial Control Interface must include four (4) IR/Serial ports. IR/Serial Control Interface devices that do not include four (4) IR/Serial ports shall not be accepted.

- IR/Serial Control Interface must support carrier frequencies up to 1.142 MHz.  IR/Serial Control Interface devices that do not support carrier frequencies up to 1.142 MHz shall not be accepted.

- IR/Serial Control Interface must support “wired-IR” control signals without the need for external devices or accessories.  IR/Serial Control Interface devices that do not support “wired-IR” or require external devices or accessories to generate “wired-IR” signals shall not be accepted.

- IR/Serial Control Interface must include four (4) input ports. IR/Serial Control Interface devices that do not include four (4) input ports shall not be accepted.

- IR/Serial Control Interface must be capable of intelligent power control for IR controlled devices by allowing an Input Port, with connected power or video sync sensing accessory, to provide deterministic status regarding the power state of a device.  Further, a simple ON or OFF command to the IR/Serial Control Interface shall initiate internal controller logic to generate the necessary IR control signal to power the device as initiated by the ON or OFF command.  IR/Serial Control Interface devices without intelligent power control shall not be accepted.

TECHNICAL SPECIFICATIONS

- Power requirements: PoE - Typical power draw: 1.9 Watts  - Max power draw: 2.4 Watts

- Dimensions: 1" x 4 3/8" x 5 1/8" (2.5 cm x 11.1 cm x 13.00 cm) (1 RU)

- Weight: 1 lb. (454 g)

- Enclosure: Steel, black powder coated finish

- Four IR / Serial control ports, 20KHz - 1.14MHz

- Four input ports for sensing contact closure

- Status LEDs

  - 1 Green LED shows connection and power status

  - 1 Green LED shows Ethernet Link status and activity

  - 4 Red LEDs (1 per IR port) show IR transmit (TX) data activity

  - 4 Yellow LEDs (1 per input port) show input activity

- CONNECTIONS / WIRING

  - 1 RJ-45 ICS-LAN Ethernet Connector

  - 1 8-Pin 3.5mm captive-screw terminal for I/R ports

  - 1 6-Pin 3.5mm captive-screw terminal for inputs

OPTIONAL ACCESSORIES

- CC-NIRC

- NXA-ENET8POE Gigabit Ethernet Switch

- PS-POE-AF PoE Injector

- AVB-VSTYLE-SURFACE-MNT V-Style Module Surface Mount

- AVB-VSTYLE-RMK-1U V-Style Module tray

- AVB-VSTYLE-RMK-FILL-1U V-Style Module tray with filled plates

- AVB-VSTYLE-POLE-MNT V-Style Module Pole Mount